## EPS and UPS Devices
Wattage Hours (WH) | Device Watts Used | Total Wattage | Hours on UPS/EPS | Edited 26 November 2023
835 | 50 | 50 | 13.254 | Beta 0,13
Inssert Above Wh of Device | 0
Please see List below for Specs
Actual Real time results may vary* +/- Accuracy 90%
List Below Of Portable Power Stations and Inverters using Lithium Batteries |  |  |  |  | Worksheet is Owned by Vape and Tech guy SA (PTY Ltd. Vape and Tech Guy SA Ltd PTY Takes no responsibility for any miss calculations based on this calculator
Brand | Model | Wh | Hours on UPS/EPS | Extra Battery Capable | Takes Solar
Ecoflow | River | 288 | 4.5714 | Yes | Yes
Ecoflow | River W/Ext Bat | 576 | 9.1429 | N/A Already in Use | Yes
Ecoflow | River Max | 576 | 9.1429 | Yes | Yes
Ecoflow | River Pro | 720 | 11.4286 | Yes | Yes
Ecoflow | River Pro W/Ext Bat | 1440 | 22.8571 | N/A Already in Use | Yes
Ecoflow | Delta Mini (EOL) | 882 | 14 | No | Yes
Ecoflow | Delta 1300 (1800W) | 1260 | 20 | No | Yes
Ecoflow | Delta Max 2000W | 1612 | 25.5873 | Yes | Yes
Ecoflow | Delta Max 2000W W/Ext Bat x1 | 3628 | 57.5873 | Yes | Yes
Ecoflow | Delta Max 2000W W/Ext Bat x2 | 5644 | 89.5873 | N/A Already in Use | Yes
Ecoflow | Delta Max 2400W | 2016 | 32 | Yes | Yes
Ecoflow | Delta Max 2400W W/Ext Bat X1 | 4032 | 64 | Yes | Yes
Ecoflow | Delta Max 2400W W/Ext Bat X2 | 6048 | 96 | N/A Already in Use | Yes
Ecoflow | Delta Pro | 3600 | 57.1429 | Yes | Yes
Ecoflow | Delta Pro W/Ext Bat X1 | 7200 | 114.2857 | Yes | Yes
Ecoflow | Delta Pro W/Ext Bat X2 | 10800 | 171.4286 | N/A Already in Use | Yes
Ecoflow | Delta Pro X2 W/Ext Bat X2 | 21600 | 342.8571 | N/A Already in Use | Yes
Ecoflow | River 2 | 256 | 4.0635 | No | Yes
Ecoflow | River 2 Max | 512 | 8.127 | No | Yes
Ecoflow | River 2 Pro | 768 | 12.1905 | No | Yes
Ecoflow | Delta 2 | 1024 | 16.254 | Yes | Yes
Ecoflow | Delta 2 W/Ext Delta 2 Smart Extra Battery | 2048 | 32.5079 | N/A Already in Use | Yes
Ecoflow | Delta 2 W/Ext Delta Max Extra Battery | 3040 | 48.254 | N/A Already in Use | Yes
Ecoflow | Delta 2 Max | 2048 | 32.5079 | Yes | Yes
Ecoflow | Delta 2 Max W/Ext Delta Max Extra Battery X1 | 4064 | 64.5079 | N/A Already in Use | Yes
Ecoflow | Delta 2 Max W/Ext Delta Max Extra Battery X2 | 6080 | 96.5079 | N/A Already in Use | Yes
Genki | Genki 500W | 515 | 8.1746 | No | Yes
Genki | Genki 1000W | 1166 | 18.5079 | No | Yes
Gizzu | GPS300 - 300W | 296 | 4.6984 | No | Yes
Gizzu | GPS500 - 500W | 518 | 8.2222 | No | Yes
Gizzu | GPS150 - 150W | 155 | 2.4603 | No | Yes
Gizzu | GPS150MAX - 150W | 242 | 3.8413 | No | Yes
Gizzu | GPS500U Hero | 512 | 8.127 | No | Yes
Gizzu | GPS2000U Hero | 2048 | 32.5079 | No | Yes
Gizzu | GPS3800U Hero | 3840 | 60.9524 | No | Yes
Gizzu | GPS1100U Challenger | 1220 | 19.3651 | No | Yes
Kool Energy | Inverter Trolley 1Kva 50Ah Lifethium 1280Wh | 1280 | 20.3175 | No | Yes
Kool Energy | Inverter Trolley 1kva 100Ah Gel Battery | 600 | 9.5238 | Yes | Yes
Kool Energy | Inverter Trolley 1,5kva 200Ah (2x 100Ah) Gel Battery | 1200 | 19.0476 | No | Yes
Kool Energy | Inverter Trolley 1,5kva 100Ah Lithium Battery | 2560 | 40.6349 | No | Yes
RCT | Inverter Trolley 1kva 100Ah Gel Battery | 600 | 9.5238 | Yes | Yes
RCT | Inverter Trolley 2kva 200Ah (2x 100Ah) Gel Battery | 1200 | 19.0476 | No | Yes
Lalela | LAL-600L Trolley 600W |  | 0 |  |  | Requesting Volts to calculate
Lalela | GWL1250 Trolley 720W | 615 | 9.7619 | No | No | Need to confirm
DaranEner | DaranEner Neo 600 | 537 | 8.5238 | No | Yes
DaranEner | DaranEner Neo 1500 | 1075 | 17.0635 | No | Yes
DaranEner | DaranEner Neo 600 | 2073.6 | 32.9143 | No | Yes
Romoss | RS300 Thunder Series | 231 | 3.6667 | No | Yes
Romoss | RS500 Thunder Series | 400 | 6.3492 | No | Yes
Romoss | RS1000 Thunder Series | 933 | 14.8095 | No | Yes
Romoss | RS1500 Thunder Series | 1328 | 21.0794 | No | Yes
Enertec | Megatank GP448-SA | 448 | 7.1111 | No | Yes
Enertec | Megatank GP896-SA | 896 | 14.2222 | No | Yes
Bluetti | BLUETTI EB3A | 268 | 4.254 | No | Yes
Bluetti | BLUETTI EB70 | 716 | 11.3651 | No | Yes
Mecer | Mecer 2Kva Lithium | 2560 | 40.6349 | No | Yes
Ugreen | PowerRoam GS600 | 680 | 10.7937 | No | Yes
Ugreen | PowerRoam GS1200 | 1024 | 16.254 | No | Yes
Ugreen | PowerRoam GS2200 | 2048 | 32.5079 | No | Yes

## Solar Recharge
Please see link for calculator
https://footprinthero.com/solar-panel-charge-time-calculator

## Typical Watt Usage of Devices
Work in Progress
Will list typical applicaces Rated power usage and or calculation of Amps and Watts Max output calculated into actual usage

## Desktop PC Calculated Watt Usag
Work in Progress
Havent worked components out yet.